## Slide 1
STOP REFRIGERATING THE AISLE
Closing supermarket display cabinets can save energy, money—and spare customers and staff unnecessary cold.
THE GREEN TANK · EVIDENCE PAPER
THE GREEN TANK · PUBLIC-INTEREST RESEARCH
STOP REFRIGERATING
THE AISLE
Doors and night blinds can protect food without chilling the people choosing it.
UK briefing · August 2026
Notes: [Sources]
- https://etl.energysecurity.gov.uk/resources/guidance-notes/etl-method-testing-retrofit-measures-open-fronted-refrigerated-display-cabinets
- https://airah.org.au/Common/Uploaded%20files/Archive/Resources/Trial-Retrofit-of-Doors-on-Open-Refrigerated-Display-Cabinets.pdf
[/Sources]

## Slide 2
THE PROBLEM
A shop pays twice for an open refrigerated aisle
02
1
Make cold
Compressors remove heat from the cabinet and food.
2
Lose cold
The air curtain mixes with the warmer, humid aisle.
3
Condition the aisle
The building then manages the comfort and moisture consequences.
The product still needs cooling. The aisle does not.
Notes: [Sources]
- https://www.energy.gov/sites/prod/files/2016/08/f33/CBI%20HIT%20Deployment%20Strategy%207-27-2016.pdf
- https://etl.energysecurity.gov.uk/products/refrigeration-equipment/refrigerated-display-cabinets
[/Sources]

## Slide 3
AVAILABLE NOW
This is established equipment—not speculative technology
03
Recognised retrofit measures
✓
Transparent hinged doors
✓
Transparent sliding doors
✓
Night blinds
✓
Strip curtains
✓
Enhanced airflow management
A real access test
10×
each door opened per hour
15 seconds per opening, across a 12-hour test cycle. Product access is built into the UK Energy Technology List test method.
Notes: [Sources]
- https://etl.energysecurity.gov.uk/resources/guidance-notes/etl-method-testing-retrofit-measures-open-fronted-refrigerated-display-cabinets
[/Sources]

## Slide 4
04
Measured proof: a supermarket trial exceeded expectations
cabinet energy reduction
customers in favour after installation
simple payback reported
42%
3.5 years
99%
58 doors · Countdown Pukekohe South
A monitored dairy-case retrofit measured energy, temperatures, sales and customer opinion.
Notes: The figures are from one New Zealand field trial and should not be treated as a guarantee for every UK store.
[Sources]
- https://airah.org.au/Common/Uploaded%20files/Archive/Resources/Trial-Retrofit-of-Doors-on-Open-Refrigerated-Display-Cabinets.pdf
[/Sources]

## Slide 5
HUMAN IMPACT
Cold-air spill is not only wasteful; for some bodies it hurts
05
Customers
Cold can trigger pain, numbness and pins-and-needles in people with Raynaud’s. Similar refrigerated draughts can create a needless barrier for people who are cold-sensitive, older, disabled or already in pain.
A calmer, warmer aisle can be an access improvement—not a luxury.
Staff
Shelf-stacking, rotation and cleaning can mean repeated exposure throughout a shift. HSE guidance says employers should control uncomfortable temperatures and, where possible, separate workers from a source of cold using barriers.
Cabinet doors are a barrier placed around the cold source, not around the shopper.
Notes: The statement about people who are cold-sensitive is an access argument, not a claim that refrigerator aisles cause a medical condition.
[Sources]
- https://www.nhs.uk/conditions/raynauds/
- https://www.hse.gov.uk/temperature/thermal/
- https://www.hse.gov.uk/temperature/employer/the-law.htm
- https://airah.org.au/Common/Uploaded%20files/Archive/Resources/Trial-Retrofit-of-Doors-on-Open-Refrigerated-Display-Cabinets.pdf
[/Sources]

## Slide 6
CUSTOMERS STILL CHOOSE
The evidence supports access—with honest merchandising safeguards
06
53% → 99%
customers supporting doors before and after the trial
No impact
reported for butter/margarine, cheese, yoghurt, chilled juices and drinks
Manage the change
Some non-staple categories dipped initially; most recovered within 5–7 weeks. One quick-meal category remained 5.23% lower in the limited data.
Close the case—then test signage, handles, door swing and product layout.
Notes: [Sources]
- https://airah.org.au/Common/Uploaded%20files/Archive/Resources/Trial-Retrofit-of-Doors-on-Open-Refrigerated-Display-Cabinets.pdf
[/Sources]

## Slide 7
07
Conservative UK model: 5% less whole-store electricity
50%
share attributed to open chilled cases
40%
refrigeration share assumption
25%
live energy saving on those cases
Chart: 
| Category 1 | Category 2 | Category 3 | Category 4
Series 1 | 1.6 | 2.2 | 3.5 | 5.8
Series 2 | 1.7 | 2.4 | 5 | 8
Conservative UK model:
5% less whole-store electricity
Chart: 
| 0.5 GWh store | 1.0 GWh store | 2.0 GWh store
Annual saving (£) | 6035 | 12071 | 24142
0.40 × 0.50 × 0.25 = 0.05
Notes: Illustrative stores, not claimed UK averages. Money uses the official Q1 2026 UK non-domestic average price including CCL: 24.1416 p/kWh. The 25% live saving is inside the 20–35% live-store range reported in a comparative paper and below the 42% measured in the EECA trial.
[Sources]
- https://www.gov.uk/government/statistical-data-sets/gas-and-electricity-prices-in-the-non-domestic-sector
- https://airah.org.au/Common/Uploaded%20files/Archive/Resources/Trial-Retrofit-of-Doors-on-Open-Refrigerated-Display-Cabinets.pdf
- https://www.aerofoil-energy.com/s/GlassDoorPaperFinal.pdf
[/Sources]

## Slide 8
08
At network scale, small percentages become large resources
saved per store each year
saved across 1,000 stores
saved across 100 stores
50 MWh
£1.21m
£12.07m
Illustrative central case
Each store uses 1 GWh/year and saves 5%; electricity valued at 24.1416p/kWh.
1,000 stores would avoid buying 50 GWh of electricity every year in this conservative scenario.
Notes: All network figures are arithmetic scenarios, not estimates of any named retailer's estate.
[Sources]
- https://www.gov.uk/government/statistical-data-sets/gas-and-electricity-prices-in-the-non-domestic-sector
[/Sources]

## Slide 9
09
Let the measured saving set the investment ceiling
Worked example: 1 GWh store, 5% electricity saving
A transparent bid rule avoids inventing a universal retrofit cost.
Column Label | Column Label | Column Label | Column Label | Column Label
Data Point | $00.000 / item | Yes | 1,000,000k / s | 0.00023862381
Data Point | $00.000 / item | No | 1,000,000k / s | 0.00023862381
Data Point | $00.000 / item | Yes | 1,000,000k / s | 0.00023862381
Data Point | $00.000 / item | No | 1,000,000k / s | 0.00023862381
Data Point | $00.000 / item | Yes | 1,000,000k / s | 0.00023862381
Data Point | $00.000 / item | No | 1,000,000k / s | 0.00023862381
Data Point | $00.000 / item | Yes | 1,000,000k / s | 0.00023862381
Data Point | $00.000 / item | Yes | 1,000,000k / s | 0.00023862381
Target payback | Annual saving | Maximum installed cost | Procurement meaning
2 years | £12,071 | £24,142 | Fast-return projects
3 years | £12,071 | £36,213 | Strong commercial hurdle
5 years | £12,071 | £60,354 | Longer-life asset case
Rule | kWh saved × tariff | annual saving × years | Meter before and after
Notes: Maximum installed cost excludes financing, maintenance changes and tax effects. Retailers should use their tariff and metered load.
[Sources]
- https://www.gov.uk/government/statistical-data-sets/gas-and-electricity-prices-in-the-non-domestic-sector
[/Sources]

## Slide 10
DO IT PROPERLY
Doors save only when the whole cabinet is recommissioned
10
01
Survey
Map cabinet type, temperature class, display area and opening pattern.
02
Engineer
Check airflow, fan controls, anti-sweat heaters, condensation and door swing.
03
Include
Use easy-open handles, clear glazing and accessible reach zones.
04
Measure
Sub-meter baseline and post-retrofit energy; log food temperatures.
05
Merchandise
Test signage and product layout; monitor category sales for 12+ weeks.
06
Maintain
Clean seals and glass; repair closers; train staff and keep doors unobstructed.
Notes: [Sources]
- https://etl.energysecurity.gov.uk/resources/guidance-notes/etl-method-testing-retrofit-measures-open-fronted-refrigerated-display-cabinets
- https://airah.org.au/Common/Uploaded%20files/Archive/Resources/Trial-Retrofit-of-Doors-on-Open-Refrigerated-Display-Cabinets.pdf
[/Sources]

## Slide 11
A PRACTICAL NATIONAL OFFER
Make closing the cold aisle normal
11
1
Immediately
Use existing night blinds whenever the store is closed; repair broken blinds and seals.
2
Next refit
Specify closed chilled cabinets by default; require a written exception for any open design.
3
Existing estate
Survey, pilot and retrofit open cases where metering supports the business case.
4
Publish
Report metered kWh, food-temperature compliance, customer feedback and sales by category.
5
Protect people
Add cold-aisle exposure to accessibility and staff thermal-comfort assessments.
6
Government
Use procurement, grants or standards to accelerate verified retrofit—not untested claims.
Notes: [Sources]
- https://etl.energysecurity.gov.uk/products/refrigeration-equipment/refrigerated-display-cabinets
- https://www.legislation.gov.uk/eur/2019/2024/data.html
- https://www.hse.gov.uk/temperature/thermal/
[/Sources]

## Slide 12
THE FOOD NEEDS THE COLD. THE AISLE DOES NOT.
Close the cabinets. Measure the result. Share the evidence.
THE GREEN TANK
THE GREEN TANK
THE FOOD NEEDS THE COLD.
THE AISLE DOES NOT.
Close the cabinets · measure the result · share the evidence
Public-interest proposal · thegreentank@proton.me
Notes: [Sources]
- https://etl.energysecurity.gov.uk/resources/guidance-notes/etl-method-testing-retrofit-measures-open-fronted-refrigerated-display-cabinets
[/Sources]